# Physical Security Implementation Checklists

Comprehensive Checklists for Physical Security Program Implementation and Operations

# Physical Security Implementation Checklists

## Document Purpose

This document provides comprehensive checklists for implementing and operating a physical security program. Use these checklists to:

Track implementation progress

Ensure nothing is overlooked

Prepare for compliance audits

Maintain ongoing operations

Validate system functionality

How to use these checklists:- Print or use digitally (checkboxes work in most document editors)
- Assign owners and due dates for accountability
- Check off items as completed
- Document any exceptions or issues
- Review periodically to ensure sustained compliance

## 1. Master Physical Security Implementation Checklist

Purpose:High-level overview of entire physical security program implementation

Timeline:4-6 months for foundational program

### Phase 1: Planning and Assessment (Weeks 1-4)

[ ] Executive support and budget approval secured

[ ] Physical security program owner designated

[ ] Implementation team assembled

[ ] Current state assessment completed

[ ] Physical security risk assessment conducted

[ ] Facilities inventory created (all locations documented)

[ ] Asset inventory created (equipment, data, critical assets)

[ ] Threat assessment completed

[ ] Compliance requirements identified (SOC 2, ISO 27001, etc.)

[ ] Security zones defined (public, general, restricted, highly restricted)

[ ] Secure areas identified (data centers, server rooms, etc.)

[ ] Implementation roadmap and timeline developed

[ ] Budget detailed by category (CapEx and OpEx)

[ ] Vendor evaluation criteria established

[ ] Stakeholder communication plan created

### Phase 2: Core Infrastructure (Months 2-3)

Access Control:- [ ] Access control system vendor selected
- [ ] Access control system purchased
- [ ] Access points identified (doors requiring control)
- [ ] Access levels and roles defined
- [ ] Network infrastructure for access system completed
- [ ] Card readers and electronic locks installed
- [ ] Access control server/software configured
- [ ] Badge design completed
- [ ] Badge stock ordered
- [ ] Employee badges programmed and issued
- [ ] Access control system tested and validated
- [ ] Access control operational

Visitor Management:- [ ] Visitor management process designed
- [ ] Visitor management system selected (digital or paper)
- [ ] Visitor badges ordered
- [ ] Reception area configured for visitor management
- [ ] Visitor log format established
- [ ] Visitor procedures documented
- [ ] Reception staff trained
- [ ] Visitor management operational

Secure Areas:- [ ] Data center/server room access controls enhanced
- [ ] Secure area access levels configured
- [ ] Secure area entry surveillance installed
- [ ] Environmental controls for secure areas implemented
- [ ] Secure area procedures documented
- [ ] Authorized personnel identified and granted access

### Phase 3: Surveillance and Monitoring (Months 3-4)

[ ] Surveillance coverage plan designed

[ ] Camera equipment selected

[ ] Recording system selected

[ ] Network infrastructure for cameras completed

[ ] Cameras installed at priority locations

[ ] Recording system installed and configured

[ ] Video retention policy configured

[ ] Monitoring procedures established

[ ] Privacy signage posted

[ ] Surveillance system tested and validated

[ ] Surveillance operational

### Phase 4: Policies and Procedures (Months 2-4)

[ ] Physical Security Policy documented

[ ] Clean Desk Policy documented

[ ] Clear Screen Policy documented

[ ] Visitor Management Procedures documented

[ ] Secure Area Access Procedures documented

[ ] Incident Response Procedures documented

[ ] Emergency Response Procedures documented

[ ] All policies reviewed and approved by leadership

[ ] Policies published and communicated

### Phase 5: Environmental and Emergency Systems (Months 3-5)

[ ] Fire detection systems inspected and validated

[ ] Fire suppression systems inspected and validated

[ ] Portable fire extinguishers installed and inspected

[ ] UPS systems installed for critical equipment

[ ] Emergency generator installed (if applicable)

[ ] Generator tested and validated

[ ] HVAC systems for critical areas validated

[ ] Environmental monitoring system installed

[ ] Environmental alert thresholds configured

[ ] Evacuation routes marked and posted

[ ] Emergency contact lists created

[ ] Fire drills scheduled

### Phase 6: Training and Awareness (Months 4-5)

[ ] General security awareness training developed

[ ] Role-specific training developed

[ ] Training delivery method selected (online, in-person, hybrid)

[ ] Training materials created

[ ] Initial training scheduled

[ ] All employees trained on general awareness

[ ] Reception staff trained on visitor management

[ ] Security personnel trained on procedures

[ ] IT staff trained on secure area access

[ ] Training completion tracked

[ ] Ongoing training program established

### Phase 7: Operations and Compliance (Months 5-6)

[ ] Physical security metrics defined

[ ] Metrics collection process established

[ ] Reporting dashboard or process created

[ ] Audit schedule established

[ ] Evidence collection process implemented

[ ] Access review process established (quarterly)

[ ] Incident reporting process established

[ ] Continuous improvement process established

[ ] First internal audit completed

[ ] Audit findings addressed

[ ] Program validated and operational

[ ] Audit readiness achieved

## 2. Quick Start Checklist (30-Day Priorities)

Purpose:Focus on highest-priority actions to establish foundational security in first 30 days

Week 1: Assessment and Planning

[ ] Conduct facility security walk-through

[ ] Document current security state (what exists, what doesn't)

[ ] Identify immediate security gaps or risks

[ ] Conduct physical security risk assessment

[ ] Define security zones and secure areas

[ ] Present business case to executive leadership

[ ] Secure budget approval for implementation

[ ] Assemble implementation team

[ ] Create 90-day implementation roadmap

Week 2: Vendor Selection and Orders

[ ] Define requirements for badge access system

[ ] Request proposals from access control vendors (3-5 vendors)

[ ] Define requirements for surveillance system

[ ] Request proposals from surveillance vendors

[ ] Identify visitor management approach (digital vs. paper)

[ ] Order visitor badges and supplies

[ ] Schedule vendor demos (access control and surveillance)

[ ] Obtain references from vendors

Week 3: Policy Development and Initial Implementation

[ ] Document draft Physical Security Policy

[ ] Document visitor management procedures

[ ] Design badge access levels and structure

[ ] Design visitor badge (appearance and format)

[ ] Order badge stock for employees

[ ] Implement basic visitor management process

[ ] Train reception on visitor procedures

[ ] Create visitor log (paper or digital system setup)

Week 4: Vendor Selection and Kick-off

[ ] Select badge access control vendor

[ ] Select surveillance vendor

[ ] Negotiate and sign contracts

[ ] Schedule installation projects

[ ] Plan network infrastructure for security systems

[ ] Finalize employee badge design

[ ] Develop initial security awareness training outline

[ ] Communicate upcoming physical security enhancements to staff

30-Day Outcomes:- Risk assessment completed and documented
- Budget and executive support secured
- Vendors selected and contracts signed
- Visitor management operational
- Foundation laid for access control and surveillance implementation

## 3. 90-Day Implementation Checklist

Purpose:Core physical security controls operational by end of 90 days

### Access Control System (Days 30-60)

Infrastructure and Installation:- [ ] Network cabling installed to all access points
- [ ] Power installed for electronic locks
- [ ] Card readers installed at main entries
- [ ] Card readers installed at secure area entries
- [ ] Electronic locks installed
- [ ] Control panels and controllers installed
- [ ] Network configured (VLAN, IP addresses, firewall rules)
- [ ] Access control server/software installed

Configuration and Setup:- [ ] Access control software configured
- [ ] All access points (doors) configured in system
- [ ] Access levels created (employee, IT, facilities, security, etc.)
- [ ] Access schedules configured (business hours, after hours)
- [ ] Badge programming completed for all current employees
- [ ] Access assignments configured based on roles
- [ ] Logging and retention configured (90 days minimum)
- [ ] Alert rules configured (failed access, door forced, etc.)
- [ ] Integration with HR system (if applicable)

Testing and Go-Live:- [ ] Each reader tested (authorized access works)
- [ ] Each reader tested (unauthorized access denied)
- [ ] Logging verified (events recorded correctly)
- [ ] Schedule restrictions tested (after-hours access)
- [ ] Emergency procedures tested (fire alarm releases doors)
- [ ] Badge issuance process documented
- [ ] Access administration procedures documented
- [ ] Facilities staff trained on administration
- [ ] Go-live communication sent to employees
- [ ] Access control system operational

### Visitor Management (Days 30-45)

[ ] Digital visitor management system implemented (if using)

[ ] Visitor badges received and available

[ ] Reception area visitor workstation set up

[ ] Visitor check-in process documented

[ ] Visitor log format finalized and in use

[ ] Reception staff fully trained on all procedures

[ ] Visitor badge return process established

[ ] Visitor log retention implemented (90 days minimum)

[ ] Employee training on visitor escort responsibilities

[ ] Visitor management fully operational

### Secure Areas (Days 45-75)

Data Center / Server Room:- [ ] Access control implemented (badge + PIN or biometric if applicable)
- [ ] Access restricted to authorized IT staff only
- [ ] Access logging configured
- [ ] Entry surveillance camera installed
- [ ] Interior surveillance installed (if data center)
- [ ] Environmental monitoring installed (temperature, humidity)
- [ ] Water detection sensors installed
- [ ] Visitor access procedures documented
- [ ] Authorized personnel list created and maintained
- [ ] Two-person access rule implemented (if applicable)

Other Secure Areas:- [ ] Finance/HR secure areas access controlled
- [ ] Executive floor access controlled
- [ ] Telecommunications closets secured
- [ ] Storage areas for sensitive materials secured
- [ ] Secure area access procedures documented

### Surveillance System (Days 45-75)

Installation:- [ ] Network infrastructure for cameras completed
- [ ] Cameras installed at main entry/exit points
- [ ] Cameras installed at secure area entries
- [ ] Cameras installed at loading dock
- [ ] Cameras installed in parking lot (priority areas)
- [ ] Recording system and storage installed
- [ ] Video management software configured

Configuration and Testing:- [ ] All cameras configured (resolution, frame rate, focus)
- [ ] Recording schedules configured (continuous recommended)
- [ ] Retention policy configured (30-90 days)
- [ ] Storage capacity validated
- [ ] All cameras tested (clear image, proper coverage)
- [ ] Playback and retrieval tested
- [ ] Export functionality tested
- [ ] User access controls configured
- [ ] Integration with access control tested (if applicable)
- [ ] Privacy signage posted at entries
- [ ] Surveillance operational

### Workspace Security (Days 60-90)

Clean Desk and Clear Screen:- [ ] Clean Desk Policy documented
- [ ] Clear Screen Policy documented
- [ ] Locking file cabinets/drawers provided to employees handling sensitive info
- [ ] Shredders placed in work areas
- [ ] Privacy screens ordered for at-risk workstations
- [ ] Screen lock technically enforced (automatic timeout)
- [ ] Employee training on clean desk requirements
- [ ] Employee training on clear screen requirements
- [ ] Initial clean desk audit conducted
- [ ] Compliance metrics established

Equipment Security:- [ ] Cable locks provided for laptops
- [ ] Equipment inventory updated
- [ ] Secure disposal procedures documented
- [ ] Asset tracking process established

### Training and Awareness (Days 60-90)

[ ] General security awareness training module developed

[ ] Training delivery method confirmed (online, in-person)

[ ] Training scheduled for all employees

[ ] All employees complete initial training

[ ] Role-specific training for reception completed

[ ] Role-specific training for IT/facilities completed

[ ] Training completion tracked

[ ] Training acknowledgments collected

### Policies and Documentation (Days 60-90)

[ ] Physical Security Policy finalized and approved

[ ] Access Control Procedures documented

[ ] Visitor Management Procedures finalized

[ ] Secure Area Access Procedures documented

[ ] Clean Desk and Clear Screen policies finalized

[ ] Incident Reporting Procedures documented

[ ] All policies published to employee portal/handbook

[ ] Policy acknowledgment process established

90-Day Outcomes:- Badge access operational at all controlled doors
- Visitor management fully operational
- Secure areas properly protected
- Surveillance covering critical areas
- Workspace security policies in effect
- All employees trained
- Documentation complete

## 4. Six-Month Maturity Checklist

Purpose:Comprehensive physical security program operational and audit-ready

### Access Control Maturity

[ ] Badge access at all required doors operational

[ ] After-hours access controls functioning

[ ] Access levels refined based on operational experience

[ ] Access provisioning process mature and documented

[ ] Access deprovisioning (terminations) process validated (<1 hour response time)

[ ] First quarterly access review completed

[ ] Access review process documented and scheduled

[ ] Failed access attempts monitored and investigated

[ ] Badge inventory and replacement process established

[ ] Badge usage metrics tracked and reported

[ ] Integration with HR system functioning (if applicable)

### Visitor Management Maturity

[ ] Visitor management process operating smoothly

[ ] Visitor volume metrics tracked

[ ] Visitor log completeness validated (90%+ all fields completed)

[ ] Visitor badge return rate tracked (95%+ target)

[ ] Visitor policy violations tracked and addressed

[ ] Visitor escort compliance validated

[ ] Special visitor scenarios documented (large events, after-hours, contractors)

[ ] Visitor management audit completed (log review, process compliance)

### Surveillance Maturity

[ ] Full surveillance coverage per plan operational

[ ] All cameras functioning and recording

[ ] Recording quality validated across all cameras

[ ] Retention policy operating correctly

[ ] Storage capacity adequate with growth room

[ ] Footage retrieval tested monthly

[ ] Camera uptime metrics tracked (99%+ target)

[ ] Surveillance footage used for investigations (if incidents occurred)

[ ] Privacy compliance validated (signage, policies, access controls)

[ ] Surveillance system maintenance schedule established

### Secure Area Maturity

[ ] All secure areas properly protected

[ ] Secure area access logs reviewed monthly

[ ] Unauthorized access attempts investigated

[ ] Visitor access to secure areas tracked

[ ] Data center environmental monitoring operational

[ ] Environmental alerts tested and response validated

[ ] Server room redundancy validated (power, cooling)

[ ] Secure area access reviews completed quarterly

[ ] Secure area procedures refined based on experience

### Workspace Security Maturity

[ ] Clean desk audits conducted quarterly

[ ] Clean desk compliance tracked (80%+ target initially, 90%+ target at maturity)

[ ] Clear screen compliance tracked (85%+ target initially, 95%+ target at maturity)

[ ] Locking storage utilized by employees

[ ] Workspace security violations addressed

[ ] Privacy screens deployed where needed

[ ] Cable locks in use for appropriate equipment

[ ] Employee awareness and compliance improving

[ ] Manager enforcement consistent

### Environmental and Emergency Systems

Fire Protection:- [ ] Fire alarm system inspected and tested
- [ ] Fire suppression systems inspected
- [ ] Portable fire extinguishers inspected monthly
- [ ] Fire drills conducted quarterly (minimum 2 by 6 months)
- [ ] Evacuation procedures validated
- [ ] Fire drill results documented and lessons learned captured
- [ ] Fire system maintenance records current

Power Protection:- [ ] UPS systems protecting critical equipment
- [ ] UPS runtime tested and validated
- [ ] UPS battery replacement schedule established
- [ ] Emergency generator operational (if applicable)
- [ ] Generator tested monthly (exercise run)
- [ ] Generator load test completed
- [ ] Generator fuel supply adequate
- [ ] Power failover tested and validated

HVAC and Environmental:- [ ] Critical area HVAC systems operational
- [ ] Environmental monitoring system operational
- [ ] Temperature and humidity within acceptable ranges
- [ ] Environmental alerts configured and tested
- [ ] Alert response procedures documented
- [ ] HVAC maintenance schedule established

### Training and Awareness

[ ] All employees completed initial training (100%)

[ ] New hire training process established and operating

[ ] Role-specific training completed for all roles

[ ] Annual training schedule established

[ ] Training materials updated based on feedback

[ ] Training effectiveness assessed (quiz scores, comprehension)

[ ] Ongoing awareness communications established (monthly tips, reminders)

[ ] Security awareness culture developing

### Metrics and Reporting

[ ] Physical security metrics defined and documented

[ ] Metrics collection process automated where possible

[ ] Metrics dashboard or reporting process operational

[ ] Monthly metrics reports generated

[ ] Quarterly metrics reports to leadership

[ ] Metrics reviewed and acted upon (not just collected)

[ ] Trends identified and addressed

### Audits and Compliance

[ ] Internal physical security audit completed

[ ] Audit findings documented

[ ] Audit findings remediated

[ ] Evidence collection process established

[ ] Audit evidence organized and accessible

[ ] Compliance gaps addressed

[ ] Quarterly inspection schedule established

[ ] Inspection results documented

[ ] Mock audit completed (if preparing for SOC 2 or certification)

[ ] Audit readiness validated

### Incident Management

[ ] Incident reporting process operational

[ ] Incidents documented and tracked

[ ] Incident investigations conducted

[ ] Post-incident reviews completed

[ ] Lessons learned captured and implemented

[ ] Incident trends analyzed

[ ] Recurring issues addressed systematically

### Continuous Improvement

[ ] Continuous improvement process established

[ ] Improvement backlog maintained

[ ] Improvement initiatives tracked

[ ] Risk assessment reviewed and updated

[ ] Policy updates based on lessons learned

[ ] System enhancements implemented

[ ] Technology roadmap established

### Documentation

[ ] Physical Security Policy current and published

[ ] All procedures documented

[ ] Standard Operating Procedures (SOPs) created

[ ] Emergency procedures documented

[ ] Contact lists current

[ ] System documentation current (configurations, diagrams)

[ ] As-built drawings current

[ ] Training materials current

[ ] Document repository organized and accessible

Six-Month Outcomes:- Comprehensive physical security program operational
- All systems functioning and maintained
- Policies and procedures mature
- Training complete and ongoing
- Metrics and reporting established
- Audit-ready with evidence collected
- Continuous improvement process active
- Organization is secure and compliant

## 5. System Testing Checklists

### 5.1 Badge Access Control System Testing Checklist

Purpose:Validate access control system functionality before go-live and periodically thereafter

Pre-Go-Live Testing:

Infrastructure:- [ ] All card readers installed and connected
- [ ] All electronic locks installed and powered
- [ ] Network connectivity verified for all readers
- [ ] Power verified (PoE or local power) for all readers
- [ ] Door contact sensors installed and functional
- [ ] Access control server/software operational
- [ ] Network segmentation configured (dedicated VLAN)
- [ ] Firewall rules configured appropriately

System Configuration:- [ ] All doors/access points configured in system
- [ ] Access levels defined and configured
- [ ] Access schedules configured
- [ ] Badge format and encoding tested
- [ ] All employees added to system
- [ ] Access assignments configured based on roles
- [ ] Logging enabled and tested
- [ ] Log retention configured (90 days minimum)

Functional Testing (For Each Access Point):- [ ] Authorized badge grants access (door unlocks)
- [ ] Unauthorized badge denies access (door remains locked)
- [ ] Invalid badge generates appropriate response
- [ ] Door re-locks after configured time (3-7 seconds typical)
- [ ] Access event logged correctly (badge ID, door, timestamp)
- [ ] Failed access event logged correctly
- [ ] Door contact sensor working (door ajar alert if left open)
- [ ] Request-to-exit button working (if applicable)
- [ ] Badge reader LEDs functioning (visual feedback)
- [ ] Audible feedback functioning (if applicable)

Schedule Testing:- [ ] Access granted during authorized schedule
- [ ] Access denied outside authorized schedule
- [ ] Schedule changes take effect immediately
- [ ] After-hours access working for authorized personnel
- [ ] Holiday schedules functioning (if configured)

Access Level Testing:- [ ] Each access level grants access to correct doors only
- [ ] Access level changes take effect immediately
- [ ] Access level inheritance working (if hierarchical)

Integration Testing:- [ ] Access events trigger camera bookmark/recording (if integrated)
- [ ] Failed access events generate alerts (if configured)
- [ ] Alarm system integration functioning (if applicable)
- [ ] HR system integration functioning (if applicable)
- [ ] Automatic provisioning working (if integrated with HR)
- [ ] Automatic deprovisioning working (if integrated with HR)

Security Testing:- [ ] Anti-passback functioning correctly (if configured)
- [ ] Tailgating detection working (if configured)
- [ ] Reader tamper detection functional
- [ ] System hardening validated (no default passwords, unnecessary services disabled)
- [ ] User access controls functioning (role-based access to admin system)

Failover and Redundancy Testing:- [ ] Local control continues during network interruption
- [ ] Doors operate during power failure (UPS or battery backup)
- [ ] Fire alarm triggers door release (life safety requirement)
- [ ] Manual override functioning (key override or emergency release)
- [ ] System recovers gracefully after failures

Reporting and Administration:- [ ] Access reports generate correctly
- [ ] Access logs searchable by date, time, door, badge
- [ ] Failed access reports generate correctly
- [ ] User activity reports generate correctly
- [ ] Badge provisioning workflow functional
- [ ] Badge deactivation immediate and effective
- [ ] Bulk operations functioning (bulk badge programming, etc.)

Performance Testing:- [ ] Multiple simultaneous access events handled (morning rush)
- [ ] System responsive under load
- [ ] Database performance adequate
- [ ] Report generation performance acceptable

User Acceptance Testing:- [ ] Facilities staff can administer system
- [ ] Badge issuance process working smoothly
- [ ] Employees can use badges successfully
- [ ] System meets operational requirements
- [ ] User interface intuitive and usable

Documentation:- [ ] As-built drawings updated with reader locations
- [ ] System configuration documented
- [ ] Access level definitions documented
- [ ] Admin procedures documented
- [ ] User guides provided
- [ ] Troubleshooting guide created
- [ ] Maintenance procedures documented

Sign-Off:- [ ] Testing completed by:__ Date: _
- [ ] Deficiencies identified: ____- [ ] Deficiencies resolved:_____
- [ ] System approved for production use:  Date: ____

### 5.2 Surveillance System Testing Checklist

Purpose:Validate surveillance system functionality and coverage

Pre-Go-Live Testing:

Infrastructure:- [ ] All cameras installed and positioned
- [ ] All cameras powered (PoE or local power)
- [ ] Network connectivity verified for all cameras
- [ ] Network bandwidth adequate for all cameras
- [ ] Recording system/NVR installed and operational
- [ ] Storage capacity adequate for retention requirements
- [ ] Video management software (VMS) installed

Camera Testing (For Each Camera):

Image Quality:- [ ] Image clear and in focus
- [ ] Resolution meets specification (1080p minimum, 4K for critical areas)
- [ ] Field of view covers intended area
- [ ] No significant blind spots
- [ ] Color reproduction accurate (if color camera)
- [ ] Lens clean and unobstructed

Coverage:- [ ] Camera angle optimal for coverage
- [ ] Overlapping coverage with adjacent cameras (if applicable)
- [ ] Critical areas fully covered (entries, exits, secure areas)
- [ ] No unintended views (neighboring property, privacy areas)

Low-Light Performance:- [ ] Adequate image quality in low light
- [ ] Infrared illumination functioning (night vision)
- [ ] Image quality acceptable at night
- [ ] No excessive glare or reflection

Environmental:- [ ] Weatherproof cameras suitable for environment (outdoor cameras)
- [ ] Cameras functioning in temperature extremes
- [ ] Condensation not forming on lens
- [ ] Mounting secure and weatherproof

Functionality:- [ ] Camera accessible from VMS
- [ ] PTZ controls functioning (if PTZ camera)
- [ ] Pan, tilt, zoom smooth and accurate
- [ ] Preset positions functioning (PTZ cameras)
- [ ] Camera responding to commands

Recording System Testing:

Recording:- [ ] All cameras recording continuously (or per configured schedule)
- [ ] Frame rate meets specification (15 fps minimum, 30 fps recommended)
- [ ] Resolution recorded matches camera capability
- [ ] Recording quality acceptable (no pixelation, artifacts)
- [ ] Timestamps accurate (NTP synchronized)
- [ ] Audio recording functioning (if applicable and legal)

Storage:- [ ] Storage usage as expected
- [ ] Retention period configured correctly (30-90 days)
- [ ] Old footage purged automatically per retention policy
- [ ] Storage alerts configured (80%, 90% full warnings)
- [ ] Redundant storage functioning (if configured)

Playback and Retrieval:

Search and Navigation:- [ ] Can locate footage by camera and time
- [ ] Search by date/time intuitive and fast
- [ ] Search by camera functioning
- [ ] Search by event functioning (if integrated with access control)
- [ ] Timeline navigation smooth

Playback:- [ ] Playback smooth (no stuttering)
- [ ] Playback controls functioning (play, pause, fast forward, rewind)
- [ ] Multi-camera playback functioning
- [ ] Playback speed adjustments working

Export:- [ ] Export functionality working
- [ ] Exported files play on standard players (VLC, Windows Media Player)
- [ ] Timestamps preserved in exported footage
- [ ] Camera identification preserved in export
- [ ] Export includes player/codec (if required)
- [ ] Chain of custody features functioning (if applicable)

Integration Testing:- [ ] Access control events trigger camera bookmark
- [ ] Alarm events trigger camera focus/recording
- [ ] Motion detection triggers recording (if configured)
- [ ] Video analytics functioning (if configured)
- [ ] SIEM integration functioning (if applicable)

Alerts and Monitoring:

System Health Alerts:- [ ] Camera offline alerts functioning
- [ ] Recording failure alerts functioning
- [ ] Storage capacity warnings functioning
- [ ] Network issues alerts functioning

Alert Delivery:- [ ] Alerts delivered to appropriate personnel (email, SMS)
- [ ] Alert priorities configured (critical, warning, info)
- [ ] Alert escalation functioning

Live Monitoring:- [ ] Live view displays all cameras
- [ ] Live view quality acceptable
- [ ] Multi-monitor display functioning (if applicable)
- [ ] Camera switching/cycling functioning
- [ ] Remote viewing functioning (web, mobile app)

Security Testing:- [ ] User access controls functioning (role-based access)
- [ ] Cannot access footage without authentication
- [ ] Cannot export footage without authorization
- [ ] User activity logged (who viewed what when)
- [ ] System hardening validated (no default passwords)
- [ ] Network security validated (cameras on separate VLAN)

Privacy and Compliance:- [ ] Privacy signage posted at facility entrances
- [ ] No cameras in private areas (restrooms, changing rooms)
- [ ] Camera angles don't inappropriately capture private offices
- [ ] No cameras capturing neighboring properties unnecessarily
- [ ] Audio recording disabled (or legally compliant)
- [ ] Data protection measures in place (encryption, access controls)

Performance Testing:- [ ] System responsive with all cameras active
- [ ] Search and playback responsive
- [ ] No significant lag in live view
- [ ] System stable over extended operation (24+ hours)

Maintenance Features:- [ ] Camera health monitoring functioning
- [ ] Lens cleaning schedule established
- [ ] Firmware update process documented
- [ ] Spare cameras available for quick replacement

User Acceptance:- [ ] Security/facilities can operate system
- [ ] Live monitoring workable
- [ ] Footage retrieval straightforward
- [ ] System meets operational requirements
- [ ] Training materials adequate

Documentation:- [ ] Camera location map/diagram created
- [ ] Camera coverage areas documented
- [ ] Field of view diagrams created
- [ ] System configuration documented
- [ ] User manuals provided
- [ ] Admin procedures documented
- [ ] Troubleshooting guide created

Sign-Off:- [ ] Testing completed by:__ Date: _
- [ ] Deficiencies identified: ____- [ ] Deficiencies resolved:_____
- [ ] System approved for production use:  Date: ____

### 5.3 Environmental Monitoring System Testing Checklist

Purpose:Validate environmental monitoring and alerting functionality

Pre-Go-Live Testing:

Sensor Installation:- [ ] Temperature sensors installed at key locations (server room, data center)
- [ ] Humidity sensors installed
- [ ] Water detection sensors installed (under raised floors, near HVAC, pipes)
- [ ] Additional sensors as required (airflow, power, etc.)
- [ ] All sensors connected to monitoring system
- [ ] All sensors powered (PoE, battery, or local power)

Sensor Testing (For Each Sensor):

Temperature Sensors:- [ ] Sensor reporting temperature readings
- [ ] Readings appear accurate (compare to thermometer)
- [ ] Readings appear in monitoring system
- [ ] Sensor responds to temperature changes (test with heat/cold source)
- [ ] Placement appropriate (representative of area, not near heat sources)

Humidity Sensors:- [ ] Sensor reporting humidity readings
- [ ] Readings appear accurate (compare to hygrometer)
- [ ] Readings appear in monitoring system
- [ ] Sensor responds to humidity changes

Water Detection Sensors:- [ ] Sensor installed in appropriate locations
- [ ] Sensor detects water when tested (apply water to sensor)
- [ ] Alert generated immediately upon water detection
- [ ] Sensor type appropriate (spot sensor vs. rope/cable sensor)

Power Monitoring:- [ ] UPS status monitored (load, battery charge, runtime estimate)
- [ ] Generator status monitored (running, fuel level)
- [ ] Utility power status monitored
- [ ] Power failure triggers alerts

Monitoring System:

Data Collection:- [ ] All sensors reporting to monitoring system
- [ ] Data collection interval appropriate (1-5 minutes typical)
- [ ] Historical data logged and retained
- [ ] Database performance adequate

Dashboard/Display:- [ ] Real-time data displays correctly
- [ ] Dashboard layout clear and intuitive
- [ ] All sensors visible on dashboard
- [ ] Status indicators clear (normal, warning, critical)
- [ ] Charts and graphs display trends
- [ ] Remote access functioning (web interface, mobile app)

Alert Testing:

Alert Threshold Configuration:- [ ] Temperature warning threshold configured (e.g., 74°F)
- [ ] Temperature critical threshold configured (e.g., 78°F)
- [ ] Humidity warning thresholds configured (e.g., 35%, 65%)
- [ ] Humidity critical thresholds configured (e.g., 30%, 70%)
- [ ] Water detection = immediate critical alert
- [ ] UPS on battery = warning alert
- [ ] Generator running = info alert
- [ ] Power failure >15 min = critical alert
- [ ] Sensor offline = warning alert

Alert Triggering (Test Each Alert Type):- [ ] Trigger temperature alert (heat source near sensor)
- [ ] Alert generated within configured time
- [ ] Alert severity correct (warning vs. critical)
- [ ] Trigger humidity alert (if possible to test)
- [ ] Trigger water detection alert (apply water to sensor)
- [ ] Trigger power alert (simulate UPS on battery)

Alert Delivery:- [ ] Email alerts delivered to correct recipients
- [ ] SMS alerts delivered (if configured)
- [ ] Phone call alerts functioning (if configured)
- [ ] Alert contains sufficient information (sensor, value, threshold, time)
- [ ] Multiple alerts for critical conditions (escalation)
- [ ] Alert delivery time acceptable (<5 minutes)

Alert Acknowledgment and Management:- [ ] Alerts can be acknowledged in system
- [ ] Acknowledged alerts tracked (who, when)
- [ ] Alerts clear automatically when condition resolves
- [ ] Alert history maintained

Integration Testing:- [ ] Integration with BMS (Building Management System) functioning
- [ ] Integration with HVAC controls functioning (if configured)
- [ ] Integration with alarm system functioning (if applicable)
- [ ] Integration with SIEM or ticketing system functioning (if applicable)

Response Procedures:- [ ] Alert response procedures documented
- [ ] Contact lists current and accurate
- [ ] Escalation procedures documented
- [ ] After-hours response procedures established

System Reliability:- [ ] Monitoring system has redundant power (UPS, generator)
- [ ] Monitoring system continues during network interruption (stores locally, syncs later)
- [ ] Sensor batteries checked (if battery-powered sensors)
- [ ] System recovery after failure validated

Reporting:- [ ] Historical reports generate correctly
- [ ] Temperature/humidity trends displayed
- [ ] Alert history reports available
- [ ] Uptime reports available
- [ ] Export functionality working

User Acceptance:- [ ] Facilities staff can access monitoring system
- [ ] Dashboard understandable and useful
- [ ] Alerts actionable
- [ ] System meets operational requirements

Documentation:- [ ] Sensor location map created
- [ ] Alert threshold documentation
- [ ] Response procedures documented
- [ ] User guide provided
- [ ] Admin procedures documented

Maintenance:- [ ] Sensor calibration schedule established (annually typical)
- [ ] Battery replacement schedule established (if applicable)
- [ ] System maintenance procedures documented

Sign-Off:- [ ] Testing completed by:__ Date: _
- [ ] Deficiencies identified: ____- [ ] Deficiencies resolved:_____
- [ ] System approved for production use:  Date: ____

### 5.4 Fire and Emergency Systems Testing Checklist

Purpose:Validate fire protection, emergency power, and emergency response systems

Fire Detection and Alarm System:

Visual Inspection:- [ ] Smoke detectors installed per code (coverage adequate)
- [ ] Smoke detectors unobstructed (not painted over, not blocked)
- [ ] Heat detectors installed where appropriate
- [ ] Manual pull stations at exits
- [ ] Fire alarm panel accessible and operational
- [ ] Audible alarms throughout facility
- [ ] Visual alarms (strobes) throughout facility
- [ ] Emergency lighting installed and operational

Functional Testing:- [ ] Test smoke detectors (test button or smoke simulation)
- [ ] Alarm sounds throughout facility when triggered
- [ ] Visual alarms activate when alarm triggered
- [ ] Fire alarm panel displays correct zone
- [ ] Manual pull stations trigger alarm
- [ ] Alarm signals monitoring service or fire department
- [ ] Battery backup functioning (test by killing power)
- [ ] Fire alarm system reset functioning

Fire Suppression Systems:

Sprinkler System:- [ ] Sprinkler heads installed per code
- [ ] Sprinkler heads unobstructed (18" clearance)
- [ ] Sprinkler control valve accessible and open
- [ ] Annual inspection completed by licensed technician
- [ ] Water pressure adequate (flow test completed)
- [ ] Backflow preventer functioning
- [ ] Sprinkler system drains functioning

Clean Agent Suppression (Data Center):- [ ] System charged (pressure gauge in green)
- [ ] Manual abort button accessible
- [ ] Pre-discharge alarm functioning (warns before discharge)
- [ ] Discharge delay appropriate (30-60 seconds typical for evacuation)
- [ ] Automatic triggers functioning (smoke detectors in room)
- [ ] Room sealing adequate (dampers close, doors seal)
- [ ] Annual inspection completed by licensed technician
- [ ] Agent quantity adequate for room volume

Portable Fire Extinguishers:- [ ] Extinguishers at all required locations (typically 75 feet travel distance)
- [ ] Extinguishers mounted on walls (visible and accessible)
- [ ] Extinguishers correct type for area (ABC for general areas)
- [ ] Extinguishers fully charged (pressure gauge in green)
- [ ] Inspection tags current (monthly visual, annual professional)
- [ ] Extinguisher locations marked/signed
- [ ] Employees know locations and basic use (PASS: Pull, Aim, Squeeze, Sweep)

Emergency Evacuation:

Evacuation Routes:- [ ] Primary evacuation routes marked and posted
- [ ] Alternate evacuation routes marked
- [ ] Exit signs illuminated
- [ ] Exit doors unobstructed and unlocked (egress requirements)
- [ ] Exit doors open easily from inside (panic hardware functioning)
- [ ] Stairwells clear and marked

Assembly Points:- [ ] Assembly points designated
- [ ] Assembly points marked and communicated
- [ ] Assembly points safe distance from building (100+ feet)
- [ ] Assembly points accessible in all weather
- [ ] Multiple assembly points for large facilities

Evacuation Procedures:- [ ] Evacuation procedures documented
- [ ] Evacuation procedures posted
- [ ] Floor wardens designated
- [ ] Floor warden responsibilities documented
- [ ] Employee accountability procedures established
- [ ] Persons needing assistance identified
- [ ] Assistance plans documented for persons needing help
- [ ] Visitor evacuation procedures established

Fire Drill Testing:- [ ] Fire drill conducted
- [ ] All personnel evacuated
- [ ] Evacuation time recorded (target: <5 minutes for most facilities)
- [ ] Assembly points used correctly
- [ ] Accountability process worked
- [ ] Floor wardens performed duties
- [ ] Issues identified and documented
- [ ] Lessons learned captured
- [ ] Corrective actions planned
- [ ] Drill documented (date, time, participants, issues, time)

Uninterruptible Power Supply (UPS):

Visual Inspection:- [ ] UPS installed and connected to critical equipment
- [ ] UPS display showing normal status
- [ ] UPS battery charge indicator showing full charge
- [ ] Load on UPS within capacity
- [ ] UPS ventilation adequate (not overheating)

Functional Testing:- [ ] Simulate power failure (disconnect UPS input or throw breaker)
- [ ] UPS immediately provides backup power (no interruption)
- [ ] Equipment continues operating on UPS power
- [ ] UPS runtime adequate (minimum 15 minutes, 30+ recommended)
- [ ] UPS runtime matches specification for current load
- [ ] Low battery warnings functioning
- [ ] UPS alarms functioning (audible and remote alerts)
- [ ] Automatic shutdown functioning (if configured)
- [ ] UPS gracefully transitions back to utility power when restored

Load Test:- [ ] Annual load test scheduled
- [ ] UPS carries actual load (not just run time with minimal load)
- [ ] Runtime meets requirements under actual load
- [ ] UPS performance validated (voltage regulation, frequency)

Maintenance:- [ ] Battery replacement schedule established (every 3-5 years typical)
- [ ] Battery manufacture date recorded
- [ ] UPS maintenance log maintained
- [ ] Self-test feature functioning (if available)

Emergency Generator:

Visual Inspection:- [ ] Generator installed on proper pad/mounting
- [ ] Generator fuel tank adequate capacity (24-48 hours)
- [ ] Fuel level adequate
- [ ] Generator ventilation adequate
- [ ] Exhaust system secure and safe
- [ ] Sound attenuation adequate (if required for noise regulations)
- [ ] Generator enclosure weatherproof (outdoor generators)

Automatic Transfer Switch (ATS):- [ ] ATS installed and connected
- [ ] ATS display showing normal status
- [ ] ATS controls accessible
- [ ] Manual override functioning

Exercise Test (Monthly):- [ ] Generator starts automatically when commanded
- [ ] Generator reaches stable operation (voltage and frequency)
- [ ] Generator runs smoothly (no unusual sounds or vibrations)
- [ ] Generator oil pressure normal
- [ ] Generator coolant temperature normal
- [ ] Generator runs for 30 minutes minimum (exercise requirement)
- [ ] Generator shuts down normally
- [ ] Test documented (date, runtime, any issues)

Load Test (Annual):- [ ] Simulate utility power failure OR throw transfer switch
- [ ] Generator starts automatically within specified time (typically 10-30 seconds)
- [ ] ATS transfers load to generator
- [ ] Generator carries full load (all critical systems)
- [ ] Generator operates stably under load
- [ ] Critical systems operating normally on generator power
- [ ] Generator runs for 1-2 hours under load
- [ ] Generator fuel consumption as expected
- [ ] ATS transfers back to utility power when available
- [ ] Transfer seamless (UPS bridges any gap)
- [ ] No equipment issues during test

Maintenance:- [ ] Oil changes per manufacturer schedule
- [ ] Filter replacements per manufacturer schedule
- [ ] Coolant checked and maintained
- [ ] Battery checked and maintained (generator starter battery)
- [ ] Fuel quality checked (diesel fuel can degrade)
- [ ] Annual professional service completed
- [ ] Maintenance log maintained

Fuel Supply:- [ ] Fuel delivery contract in place (for extended outages)
- [ ] Emergency fuel delivery contact information available
- [ ] Fuel storage regulations complied with
- [ ] Fuel tank overfill prevention functioning

Emergency Communication:

Notification System:- [ ] Mass notification system operational (email, SMS, phone)
- [ ] All employees can receive notifications
- [ ] Test notification sent successfully
- [ ] Two-way communication functioning (employees can respond)
- [ ] Notification system accessible during emergencies (not dependent on facility systems)

Emergency Contacts:- [ ] Emergency contact list current
- [ ] Employee emergency contacts maintained
- [ ] Vendor emergency contacts documented
- [ ] Local emergency services contacts documented
- [ ] Building management emergency contacts documented
- [ ] Contact list accessible to appropriate personnel
- [ ] Contact list tested (spot-check phone numbers)

Communication Methods:- [ ] PA system functioning (if available)
- [ ] Emergency radios functioning (if used)
- [ ] Communication tree documented
- [ ] Backup communication methods identified (if primary fails)

Sign-Off:- [ ] Testing completed by:__ Date: _
- [ ] Deficiencies identified: ____- [ ] Deficiencies resolved:_____
- [ ] Systems approved for operational use:  Date: ____

## 6. Audit Readiness Checklists

### 6.1 SOC 2 Physical Security Audit Readiness Checklist

Purpose:Prepare evidence and validate compliance with SOC 2 Trust Service Criteria for physical security (CC6.1, CC6.4)

CC6.1: Logical and Physical Access Controls

Access Control System:- [ ] Access control system documentation (system description, architecture)
- [ ] Access control system configuration screenshots/reports
- [ ] List of all access points (doors with badge access)
- [ ] Access levels defined and documented
- [ ] Access provisioning procedures documented
- [ ] Access deprovisioning procedures documented
- [ ] Sample access request and approval forms
- [ ] Sample access logs (30-90 days) showing access events
- [ ] Evidence of access logging (system configuration showing logging enabled)
- [ ] Log retention policy documented (90 days minimum)
- [ ] Sample of access log review (monthly review documented)

Access Reviews:- [ ] Access review policy/procedure documented (quarterly reviews)
- [ ] Evidence of completed access reviews (last 2-4 quarters)
- [ ] Access review showing manager approval/sign-off
- [ ] Evidence of access removal based on review findings

Terminations:- [ ] Termination procedures documented (immediate access revocation)
- [ ] Sample termination documentation showing access revocation
- [ ] Evidence of timely access revocation (within 24 hours of termination)
- [ ] Sample access logs showing terminated employee no longer has access

CC6.4: Restricting Physical Access

Facility Access Controls:- [ ] Facility security description (building access, badge system, etc.)
- [ ] Perimeter security description and evidence (fencing, gates, etc. if applicable)
- [ ] Building entry controls documented
- [ ] Evidence of badge access at facility entrances
- [ ] Visitor management procedures documented

Secure Areas:- [ ] List of secure areas identified (data center, server room, etc.)
- [ ] Secure area access controls documented
- [ ] Evidence of enhanced access controls for secure areas
- [ ] Secure area access logs (sample)
- [ ] Secure area access authorization list

Visitor Management:- [ ] Visitor management procedures documented
- [ ] Visitor logs (90 days minimum)
- [ ] Evidence of visitor identification and escort procedures
- [ ] Sample visitor badges (photo showing distinguishability)
- [ ] Evidence that visitors escorted

Surveillance:- [ ] Surveillance system description
- [ ] Camera coverage map/diagram
- [ ] Evidence of surveillance at entry points and secure areas
- [ ] Sample surveillance footage (demonstrating system functionality)
- [ ] Surveillance retention policy documented (30-90 days)
- [ ] Privacy signage evidence (photos)

Environmental Controls:- [ ] Data center/server room environmental controls documented
- [ ] Fire suppression system documentation
- [ ] Fire system inspection/test records (annual minimum)
- [ ] UPS and generator documentation
- [ ] UPS/generator test records (monthly exercise, annual load test)
- [ ] Environmental monitoring system documentation (if applicable)

Policies and Procedures:- [ ] Physical Security Policy documented and approved
- [ ] Access Control Procedures documented
- [ ] Visitor Management Procedures documented
- [ ] Secure Area Access Procedures documented
- [ ] Clean Desk/Clear Screen Policy documented
- [ ] Incident Response Procedures documented
- [ ] Emergency Response Procedures documented

Training and Awareness:- [ ] Security awareness training materials (including physical security)
- [ ] Training completion records (all employees trained)
- [ ] New hire orientation checklist (includes physical security)
- [ ] Evidence of ongoing security awareness (newsletters, reminders, etc.)

Incident Management:- [ ] Incident reporting procedures documented
- [ ] Sample physical security incident reports (if any incidents occurred)
- [ ] Evidence of incident investigation and resolution
- [ ] Lessons learned documentation

Risk Assessment:- [ ] Physical security risk assessment documented
- [ ] Risk assessment updated annually or after significant changes
- [ ] Evidence that controls selected based on risk assessment

General Evidence:- [ ] Organization chart showing physical security responsibilities
- [ ] Physical security budget documentation
- [ ] Physical security metrics/KPIs tracked
- [ ] Evidence of management review of physical security program

Auditor Interview Preparation:- [ ] Facilities Manager prepared to discuss physical security program
- [ ] Security personnel prepared to discuss daily operations
- [ ] IT prepared to discuss data center physical security
- [ ] HR prepared to discuss badge provisioning/deprovisioning coordination

Evidence Organization:- [ ] All evidence organized in folder/repository
- [ ] Evidence labeled clearly (what it demonstrates)
- [ ] Evidence dated appropriately
- [ ] Quick access to evidence during audit
- [ ] Evidence review meeting held before audit

### 6.2 ISO 27001 Physical Security Audit Readiness Checklist

Purpose:Prepare evidence and validate compliance with ISO 27001 Annex A physical security controls

A.7.1.1 - Physical Security Perimeter

[ ] Physical security perimeter documented (site plan showing boundaries)

[ ] Perimeter barriers documented (fencing, walls, controlled entry, etc.)

[ ] Perimeter barrier strength assessed and documented

[ ] Perimeter entry points identified and secured

[ ] Building security documented (locked doors, controlled entry)

[ ] External doors and accessible windows secured

[ ] Evidence of perimeter monitoring (guards, cameras, etc.)

A.7.1.2 - Physical Entry Controls

[ ] Entry control mechanisms documented (badge access, guards, etc.)

[ ] Evidence of entry controls at all access points

[ ] Secure area entry controls documented

[ ] Entry access logs available (who accessed, when)

[ ] Visitor control procedures documented

[ ] Visitor logs available

[ ] Visitor identification and supervision evidence

A.7.1.3 - Securing Offices, Rooms, and Facilities

[ ] Physical security of offices/rooms documented

[ ] Server room/data center physical security documented

[ ] IT equipment rooms secured (wiring closets, etc.)

[ ] Sensitive areas identified and secured

[ ] Lock and key inventory (if physical keys used)

[ ] Fire detection and suppression documented

[ ] Environmental protections documented

A.7.1.4 - Protecting Against External and Environmental Threats

[ ] Natural disaster risk assessment (earthquake, flood, fire, etc.)

[ ] Environmental protection measures documented

[ ] Flood risk mitigation (equipment elevation, drainage, etc.)

[ ] Fire protection systems documented and tested

[ ] UPS and generator documentation and test records

[ ] HVAC and climate control for critical areas documented

[ ] Environmental monitoring documentation (if implemented)

A.7.1.5 - Working in Secure Areas

[ ] Secure area work procedures documented

[ ] Secure area access authorization documented

[ ] Unsupervised work in secure areas controlled

[ ] Two-person rule documented (if applicable)

[ ] Photography restrictions in secure areas documented

[ ] Secure area activity logging evidence

A.7.1.6 - Delivery and Loading Areas

[ ] Loading area security controls documented

[ ] Delivery access controls documented

[ ] Delivery inspection procedures documented

[ ] Separation of loading areas from facility documented

[ ] Delivery logs (if maintained)

A.7.2.1 - Equipment Siting and Protection

[ ] Critical equipment siting documented (not in public areas, away from threats)

[ ] Server room/data center siting rationale documented

[ ] Equipment environmental protection documented

[ ] Cable routing and protection documented

[ ] Equipment protection from physical damage documented

A.7.2.2 - Supporting Utilities

[ ] UPS systems documented (what equipment protected, capacity, runtime)

[ ] Emergency generator documented (capacity, fuel, testing)

[ ] Redundant power feeds documented (if available)

[ ] Utility inspection and testing records

[ ] Water supply for fire suppression documented

[ ] HVAC systems for critical areas documented

A.7.2.3 - Cabling Security

[ ] Cabling protection documented (conduit, underground, secured routing)

[ ] Power and data cable separation documented

[ ] Wiring closet security documented

[ ] Patch panel and network connection security documented

A.7.3.1 - Clear Desk and Clear Screen

[ ] Clear Desk Policy documented

[ ] Clear Screen Policy documented

[ ] Clean desk audit results documented

[ ] Clear screen compliance evidence (technical enforcement or audit results)

[ ] Locking storage provided to employees

[ ] Shredding facilities available and used

General ISO 27001 Physical Security Evidence:

[ ] Statement of Applicability (SOA) including Annex A.7 controls

[ ] Risk assessment including physical security threats

[ ] Risk treatment plan including physical security controls

[ ] Physical Security Policy aligned with ISO 27001 requirements

[ ] Physical security roles and responsibilities documented

[ ] Objectives and metrics for physical security documented

[ ] Management review of physical security program

[ ] Internal audit of physical security controls completed

[ ] Corrective actions from audits documented and implemented

[ ] Continual improvement evidence (lessons learned, enhancements)

Auditor Interview Preparation:- [ ] Management prepared to discuss physical security in context of ISMS
- [ ] Facilities Manager prepared for detailed control discussions
- [ ] IT prepared to discuss technical integration (physical + logical security)
- [ ] Evidence custodians know where evidence located

ISO 27001 Certification Audit Preparation:- [ ] Gap analysis against ISO 27001 Annex A.7 completed
- [ ] All identified gaps remediated
- [ ] Evidence package prepared and organized by control
- [ ] Mock audit or pre-assessment completed (if possible)

### 6.3 PCI DSS Physical Security Audit Readiness Checklist

Purpose:Prepare evidence for PCI DSS Requirement 9 (Restrict Physical Access to Cardholder Data)

Note:These requirements apply only to areas where Cardholder Data Environment (CDE) systems are located.

Requirement 9.1 - Use Appropriate Facility Entry Controls

9.1.1 - Video Cameras or Access Control:- [ ] CDE areas identified and documented
- [ ] Video cameras installed at CDE facility entry points OR
- [ ] Access control mechanisms at CDE facility entry points
- [ ] Camera coverage map showing CDE entry coverage (if using cameras)
- [ ] Camera footage retention 90 days minimum (if using cameras)
- [ ] Sample camera footage demonstrating functionality
- [ ] Access control logs 90 days minimum (if using access control)
- [ ] Sample access logs from CDE areas

9.1.2 - Physical Access Restrictions:- [ ] CDE physical access restricted to authorized personnel only
- [ ] CDE access authorization list documented
- [ ] Badge or identification required for CDE access
- [ ] Visitor and contractor badges visually distinguishable from employee badges
- [ ] Sample badges (employee vs. visitor/contractor) showing distinction

9.1.3 - Physical Access for Personnel:- [ ] Badge or key card access to CDE areas documented
- [ ] Publicly accessible network jacks disabled or access-restricted
- [ ] Evidence that lobby/public area network jacks on separate network from CDE

Requirement 9.2 - Procedures for Easily Distinguishing Personnel and Visitors

9.2.1 - Visitor Authorization:- [ ] Visitor authorization procedures for CDE areas documented
- [ ] Evidence of visitor authorization before CDE access (approval forms, emails)

9.2.2 - Visitor Identification:- [ ] Visitor badge process documented
- [ ] Visitor badges issued and distinguishable from employee badges
- [ ] Visitor badges expire or show date
- [ ] Sample visitor badges showing expiration feature

9.2.3 - Visitor Badge Surrender:- [ ] Procedures for visitor badge return documented
- [ ] Evidence of badge collection (visitor logs showing badge return)

9.2.4 - Visitor Log:- [ ] Visitor log maintained for CDE areas
- [ ] Visitor log includes all required fields:
  - [ ] Visitor name
  - [ ] Company represented
  - [ ] Onsite personnel authorizing access
  - [ ] Date and time of visit
  - [ ] Visitor signature
- [ ] Visitor logs retained for at least 90 days
- [ ] Sample visitor logs from CDE areas

Requirement 9.3 - Control Physical Access for Onsite Personnel

9.3.1 - Distinguish Visitors from Personnel:- [ ] Employee badges visually different from visitor badges (color, marking, etc.)
- [ ] Sample badges showing clear visual distinction

9.3.2 - Personnel Identification:- [ ] Badge or other identification required for CDE access
- [ ] Badge authentication system in place (readers)

9.3.3 - Revoke Access Immediately:- [ ] Termination procedures include immediate access revocation
- [ ] Evidence of same-day badge deactivation (terminated employee samples)
- [ ] Physical access credentials collected (badges, keys)
- [ ] Procedure for changing access codes if not collected

9.3.4 - Access Control System:- [ ] Access control system logs all CDE access
- [ ] Access logs include all access attempts (successful and denied)
- [ ] Logs reviewed regularly (monthly minimum)
- [ ] Log review documentation
- [ ] System administrators cannot delete logs (or deletion logged)
- [ ] Logs retained for 90 days minimum

Requirement 9.5 - Physically Secure All Media

9.5.1 - Media Storage:- [ ] Media backup storage location documented (locked room/safe)
- [ ] Security of media storage location reviewed annually
- [ ] Annual media storage security review documentation

9.5.2 - Media Approval:- [ ] Annual review of stored media security documented
- [ ] Approval of media retained per business/legal requirements

9.5.3 - Secure Media Transport:- [ ] Media transport procedures documented
- [ ] Media classified by sensitivity
- [ ] Secure courier or trackable transport method used
- [ ] Management approval for media transport required
- [ ] Media transport tracking log (what, where, when, by whom)

9.5.4 - Management Approval for Media Movement:- [ ] Procedures require management approval before media leaves facility
- [ ] Sample approvals for media transport

Requirement 9.6 - Maintain Strict Control Over Media

9.6.1 - Media Destruction:- [ ] Media destruction procedures documented
- [ ] Destruction methods appropriate:
  - [ ] Shredding, incinerating, or pulping paper
  - [ ] Physical destruction or degaussing of magnetic media
  - [ ] Shredding or physically destroying hard drives
- [ ] Certificates of destruction obtained and retained
- [ ] Sample certificates of destruction

9.6.2 - Secure Media Containers:- [ ] Secure containers for media destruction (locked bins)
- [ ] Containers prevent media from being readable
- [ ] Containers periodically emptied

9.6.3 - Media Container Security:- [ ] Destruction containers secured (access restricted)

Requirement 9.9 - Protect Devices that Capture Payment Card Data

9.9.1 - Device Inventory:- [ ] List of all POI (Point of Interaction) devices maintained
- [ ] Inventory includes: Make, model, location, serial number
- [ ] Inventory updated regularly

9.9.2 - Inspect Devices:- [ ] Device inspection procedures documented
- [ ] Inspection frequency defined and followed (daily for high-volume, weekly minimum)
- [ ] Inspection logs maintained
- [ ] Personnel trained to detect tampering

9.9.3 - Training:- [ ] Personnel trained to be aware of suspicious behavior
- [ ] Training on device tampering detection
- [ ] Training records maintained

General PCI DSS Physical Security Evidence:

[ ] CDE boundaries clearly defined (network diagram showing physical locations)

[ ] Data flow diagram showing where cardholder data physically resides

[ ] Physical security measures mapped to CDE locations

[ ] Compensating controls documented (if any controls not fully implemented)

[ ] Quarterly self-assessments or continuous compliance monitoring

[ ] Evidence organized and ready for QSA (Qualified Security Assessor) review

QSA Preparation:- [ ] CDE tour planned for assessor (show physical security controls)
- [ ] Personnel interviews arranged (security, facilities, IT)
- [ ] Evidence custodians identified
- [ ] Gap analysis against Requirement 9 completed
- [ ] All gaps remediated or compensating controls documented

### 6.4 HIPAA Physical Safeguards Audit Readiness Checklist

Purpose:Prepare evidence for HIPAA Security Rule §164.310 Physical Safeguards

Note:These requirements apply to facilities and systems that store, process, or transmit ePHI (electronic Protected Health Information).

§164.310(a)(1) - Facility Access Controls

Contingency Operations:- [ ] Facility access procedures during emergencies documented
- [ ] Procedures allow data recovery during disaster/emergency
- [ ] Emergency access to facility for restoration documented

Facility Security Plan:- [ ] Facility security plan documented
- [ ] Plan addresses safeguarding facility and equipment from unauthorized access, tampering, theft
- [ ] ePHI storage locations identified (where systems with ePHI are physically located)

Access Control and Validation:- [ ] Facility access control procedures documented
- [ ] Person access validated based on role/function
- [ ] Visitor control procedures documented
- [ ] Access logs for ePHI areas maintained
- [ ] Sample access logs

Maintenance Records:- [ ] Physical security component maintenance documented
- [ ] Repairs and modifications to facility security recorded
- [ ] Examples: Lock changes, door repairs, security system modifications
- [ ] Maintenance log maintained

§164.310(b) - Workstation Use

Workstation Use Policies:- [ ] Workstation use policy documented
- [ ] Policy specifies proper functions on workstations accessing ePHI
- [ ] Policy specifies manner of performance
- [ ] Policy addresses physical attributes of workstation surroundings:
  - [ ] Where workstations can be located
  - [ ] Workstation positioning (screen not visible to public)
  - [ ] Clear screen requirements
  - [ ] Shared vs. dedicated workstations

§164.310(c) - Workstation Security

Physical Safeguards for Workstations:- [ ] Physical safeguards for all workstations accessing ePHI documented
- [ ] Workstations in secure areas or locked when not in use
- [ ] Cable locks for workstations (if needed)
- [ ] Privacy screens on monitors (if needed)
- [ ] Workstation positioning away from public view
- [ ] Automatic screen lock/logoff configured and enforced

§164.310(d)(1) - Device and Media Controls

Disposal (Required):- [ ] Device and media disposal procedures documented
- [ ] Procedures address final disposition of ePHI
- [ ] Hardware/media with ePHI sanitized before disposal
- [ ] Destruction methods documented:
  - [ ] Secure wipe for hard drives (NIST 800-88 compliant)
  - [ ] Physical destruction for media (shredding, degaussing)
  - [ ] Certificate of destruction obtained
- [ ] Sample certificates of destruction

Media Re-use (Required):- [ ] Procedures for removing ePHI before media re-use documented
- [ ] Media sanitization procedures before re-use or disposal
- [ ] Secure wipe or reformat before re-use

Accountability (Addressable):- [ ] Device and media inventory containing ePHI maintained
- [ ] Record of device/media movements maintained (what, who, when, where)
- [ ] Sample movement logs

Data Backup and Storage (Addressable):- [ ] Retrievable exact copy of ePHI created before equipment movement
- [ ] Backup procedures before device transport (repair, relocation)

General HIPAA Physical Safeguards Evidence:

Policies and Procedures:- [ ] Physical safeguards documented in HIPAA Security Policies
- [ ] Facility Security Plan documented
- [ ] Workstation Use Policy documented
- [ ] Workstation Security Policy documented
- [ ] Device and Media Controls Policy documented

Risk Assessment:- [ ] Physical security risk assessment including ePHI threats
- [ ] Risk assessment addresses physical access to ePHI
- [ ] Risk assessment updated annually or after significant changes

Implementation:- [ ] ePHI locations identified (all areas with systems containing ePHI)
- [ ] Physical access controls implemented for ePHI areas
- [ ] Workstation security implemented
- [ ] Device and media controls implemented
- [ ] Evidence of implementation (photos, system configs, etc.)

Training:- [ ] Workforce trained on physical safeguards
- [ ] Training includes workstation use and security
- [ ] Training includes device and media handling
- [ ] Training records maintained

Business Associate Agreements:- [ ] BAAs with vendors having physical access to ePHI or ePHI systems
- [ ] BAAs address physical security obligations
- [ ] Sample BAAs available for review

Incident Response:- [ ] Physical security incidents involving ePHI documented
- [ ] Breach assessment for physical security incidents
- [ ] Notification procedures if breach determined

Documentation and Review:- [ ] Physical safeguards documentation maintained for 6 years
- [ ] Physical safeguards reviewed annually
- [ ] Updates documented
- [ ] Management approval of physical safeguards

Auditor Preparation:- [ ] ePHI facility tour planned (show physical controls)
- [ ] Facilities Manager prepared to discuss physical safeguards
- [ ] Privacy/Security Officer prepared to discuss overall compliance
- [ ] Evidence organized by safeguard requirement
- [ ] Addressable requirements: Implementation or documented rationale for alternative

Remediation:- [ ] Gap analysis against §164.310 completed
- [ ] All required safeguards implemented
- [ ] Addressable safeguards implemented or alternatives documented
- [ ] Outstanding gaps have remediation plans with timelines

## 7. Ongoing Operations Checklists

### 7.1 Daily Physical Security Operations Checklist

Purpose:Daily tasks to maintain physical security

Morning (Start of Business Day):

[ ] Check physical security system status (access control, cameras, alarms)

[ ] Review overnight alerts and alarms (any security events after hours?)

[ ] Review overnight access logs (any unexpected after-hours access?)

[ ] Verify all critical systems operational:

[ ] Access control system online

[ ] All card readers functional

[ ] Camera system recording

[ ] Environmental monitoring operational

[ ] Unlock doors requiring daily unlock (if any)

[ ] Verify reception area ready for visitors

[ ] Check visitor badge supply adequate

[ ] Review day's anticipated visitor arrivals (VIP visitors, large groups, etc.)

Throughout Day:

[ ] Monitor security systems for alerts

[ ] Respond to security system failures or alerts

[ ] Process badge requests and issue badges

[ ] Support visitor management (if issues arise)

[ ] Address physical security concerns reported by employees

[ ] Conduct informal security observations during facility walks

End of Day:

[ ] Verify all visitors signed out and returned badges

[ ] Conduct clean desk spot checks (if doing daily audits)

[ ] Lock doors requiring nightly locking (if applicable)

[ ] Arm alarm system (if applicable)

[ ] Verify secure areas secured

[ ] Review day's security events and document any incidents

[ ] Set alarm or activate after-hours security mode

After Hours:

[ ] Security guard or on-call monitoring (if applicable)

[ ] Respond to after-hours alarms or security alerts

[ ] Document any after-hours incidents

### 7.2 Weekly Physical Security Operations Checklist

Access Control:- [ ] Review week's failed access attempts (identify patterns, investigate anomalies)
- [ ] Review after-hours access (verify legitimate, investigate unexpected)
- [ ] Process any pending access requests
- [ ] Update access control system with any organizational changes
- [ ] Test sample of card readers (random selection, verify functioning)

Visitor Management:- [ ] Review week's visitor logs (completeness, any issues)
- [ ] Follow up on any unreturned visitor badges
- [ ] Reconcile visitor badge inventory
- [ ] Restock visitor badge supply if needed

Surveillance:- [ ] Verify all cameras recording and functional
- [ ] Spot-check camera image quality (random sample)
- [ ] Check recording system health and storage capacity
- [ ] Review any camera system alerts or failures

Secure Areas:- [ ] Review secure area access logs (weekly review of data center, server rooms)
- [ ] Verify environmental conditions in critical areas (temperature, humidity)
- [ ] Check for any environmental alerts during week

Physical Security:- [ ] Walk perimeter and facility (look for physical security issues)
- [ ] Check doors, locks, and barriers (any damage or tampering?)
- [ ] Verify lighting operational (exterior lighting, emergency lighting)
- [ ] Check for propped doors or security bypasses

Incidents and Issues:- [ ] Review week's physical security incidents
- [ ] Ensure all incidents documented and resolved
- [ ] Follow up on any open security issues

Documentation:- [ ] Update security logs and documentation
- [ ] Document any issues or incidents
- [ ] Note any needed maintenance or repairs

### 7.3 Monthly Physical Security Operations Checklist

Access Control System:- [ ] Generate and review access reports:
  - [ ] Failed access attempts (patterns, high failure rate individuals)
  - [ ] After-hours access (verify legitimate)
  - [ ] Secure area access (review who accessed critical areas)
- [ ] Test badge access system functionality (all readers)
- [ ] Verify access control system backups running
- [ ] Review access system logs for anomalies or security concerns
- [ ] Update access control documentation if changes made

Surveillance System:- [ ] Review surveillance footage from sample incidents or times
- [ ] Verify recording quality across all cameras
- [ ] Check recording system storage usage and trends
- [ ] Clean accessible camera lenses
- [ ] Verify camera positioning (any cameras moved or misaligned?)
- [ ] Test footage retrieval and export process
- [ ] Review surveillance system health logs

Visitor Management:- [ ] Generate visitor statistics (volume, trends)
- [ ] Audit visitor logs for completeness
- [ ] Review visitor badge return rate
- [ ] Address any recurring visitor management issues
- [ ] Update visitor management procedures if needed

Secure Areas:- [ ] Review all secure area access logs
- [ ] Audit secure area access authorizations
- [ ] Inspect secure areas physically (locks, signage, conditions)
- [ ] Review environmental logs (temperature, humidity, alerts)
- [ ] Test environmental alerts (if feasible monthly)

Workspace Security:- [ ] Conduct clean desk audit
- [ ] Document clean desk compliance rate
- [ ] Address clean desk violations
- [ ] Conduct clear screen spot checks

Fire and Emergency Systems:- [ ] Visual inspection of fire extinguishers
- [ ] Test fire alarm (visual and audible check)
- [ ] Exercise generator (30-minute run, no load or light load)
- [ ] Check UPS status (battery charge, system health)
- [ ] Review emergency contact lists (any updates needed?)

Physical Security Metrics:- [ ] Compile monthly physical security metrics
- [ ] Generate monthly physical security report
- [ ] Review trends and identify issues
- [ ] Report to management

Maintenance:- [ ] Perform routine maintenance on security systems
- [ ] Address any maintenance issues identified
- [ ] Schedule needed repairs
- [ ] Update maintenance logs

Training:- [ ] Track training completion for new hires
- [ ] Deliver training to new employees
- [ ] Identify any training needs or gaps

Incidents:- [ ] Review month's security incidents
- [ ] Analyze incident trends
- [ ] Implement improvements based on lessons learned
- [ ] Update incident logs

### 7.4 Quarterly Physical Security Operations Checklist

Access Control:- [ ] Conduct quarterly access review:
  - [ ] Generate access reports for all personnel
  - [ ] Department managers review and approve access
  - [ ] Remove access no longer needed
  - [ ] Document access review completion
- [ ] Audit badge inventory (active badges vs. issued)
- [ ] Review badge issuance and deactivation procedures
- [ ] Test badge access system redundancy and failover

Surveillance:- [ ] Professional camera inspection and maintenance
- [ ] Clean all camera lenses and housings
- [ ] Inspect camera mounting and cabling
- [ ] Review camera coverage (any gaps or needed additions?)
- [ ] Test camera failover and redundancy
- [ ] Audit camera system user accounts and permissions

Secure Areas:- [ ] Conduct secure area inspections
- [ ] Review and update secure area authorized personnel lists
- [ ] Test secure area access controls (multi-factor, biometrics)
- [ ] Review secure area procedures and update if needed

Workspace Security:- [ ] Comprehensive clean desk audit
- [ ] Report clean desk compliance to management
- [ ] Conduct clear screen compliance audit
- [ ] Address persistent workspace security issues

Fire and Emergency Systems:- [ ] Conduct fire drill
- [ ] Document fire drill results
- [ ] Implement improvements from fire drill lessons learned
- [ ] Inspect fire suppression systems
- [ ] Test emergency lighting
- [ ] Review and update emergency procedures
- [ ] Update emergency contact lists

Environmental Systems:- [ ] HVAC filter changes (server rooms, data centers)
- [ ] Test UPS runtime under load
- [ ] Generator service and inspection
- [ ] Review environmental monitoring logs
- [ ] Calibrate environmental sensors (if needed quarterly)

Training:- [ ] Review training completion rates
- [ ] Deliver refresher training if needed
- [ ] Update training materials based on changes

Audits:- [ ] Conduct internal physical security audit (rotate focus areas)
- [ ] Document audit findings
- [ ] Create remediation plans for findings
- [ ] Track audit findings to closure

Metrics and Reporting:- [ ] Compile quarterly physical security metrics
- [ ] Generate quarterly report to leadership
- [ ] Present physical security program status
- [ ] Request resources or approvals if needed

Vendor Management:- [ ] Review security system vendor performance
- [ ] Conduct vendor meetings (access control, surveillance, etc.)
- [ ] Renew maintenance contracts if due
- [ ] Evaluate vendor relationship and alternatives

Policy Review:- [ ] Review physical security policies for needed updates
- [ ] Update policies based on operational experience
- [ ] Communicate policy changes if any

### 7.5 Annual Physical Security Operations Checklist

Comprehensive Program Review:- [ ] Conduct annual physical security program assessment
- [ ] Review program effectiveness
- [ ] Identify strengths and weaknesses
- [ ] Strategic planning for next year

Risk Assessment:- [ ] Update annual physical security risk assessment
- [ ] Reassess threats, vulnerabilities, and controls
- [ ] Update risk register
- [ ] Adjust controls based on risk changes

Access Control System:- [ ] Comprehensive access control system audit
- [ ] Review all access levels and permissions
- [ ] Audit system configuration
- [ ] Test system redundancy and disaster recovery
- [ ] Review and renew access control system maintenance contract
- [ ] Evaluate system performance and potential upgrades

Surveillance System:- [ ] Comprehensive surveillance system audit
- [ ] Review camera coverage and placement
- [ ] Evaluate need for additional cameras or upgrades
- [ ] Professional surveillance system inspection and service
- [ ] Review and renew surveillance system maintenance contract
- [ ] Assess recording capacity and retention

Secure Areas:- [ ] Comprehensive secure area review
- [ ] Re-evaluate secure area classifications
- [ ] Update secure area controls if needed
- [ ] Review environmental control systems
- [ ] Professional inspection of secure area systems

Fire and Emergency Systems:- [ ] Annual fire alarm system inspection (licensed professional)
- [ ] Annual fire suppression system inspection (licensed professional)
- [ ] Annual sprinkler system inspection and flow test
- [ ] Annual fire extinguisher inspection (licensed professional)
- [ ] UPS annual load test and battery assessment
- [ ] Generator annual load test under full load
- [ ] Generator annual service (oil change, filters, etc.)
- [ ] Review and update evacuation procedures
- [ ] Update emergency contact lists

Environmental Systems:- [ ] Annual HVAC system service for critical areas
- [ ] Annual environmental sensor calibration
- [ ] Review environmental monitoring thresholds
- [ ] Assess environmental system capacity and upgrades needed

Policies and Procedures:- [ ] Annual physical security policy review
- [ ] Update policies based on lessons learned, changes, or regulations
- [ ] Obtain management approval for policy updates
- [ ] Communicate policy updates to all personnel

Training:- [ ] Annual security awareness training for all employees
- [ ] Update training materials
- [ ] Review training effectiveness
- [ ] Identify specialized training needs

Compliance:- [ ] Annual compliance assessment (SOC 2, ISO 27001, PCI DSS, HIPAA as applicable)
- [ ] Internal or external physical security audit
- [ ] Address audit findings
- [ ] Update compliance documentation

Vendor Management:- [ ] Annual vendor performance review
- [ ] Renew vendor contracts or re-bid if needed
- [ ] Evaluate new technologies or vendors
- [ ] Update vendor contact information

Metrics and Reporting:- [ ] Compile annual physical security metrics
- [ ] Analyze year-over-year trends
- [ ] Generate annual report to executive leadership
- [ ] Present program accomplishments and challenges

Budget:- [ ] Review current year budget spend
- [ ] Develop next year physical security budget
- [ ] Justify budget requests for improvements
- [ ] Present budget to leadership for approval

Continuous Improvement:- [ ] Review improvement initiatives from past year
- [ ] Identify new improvement opportunities
- [ ] Prioritize improvements for next year
- [ ] Create improvement roadmap

Documentation:- [ ] Review and update all physical security documentation
- [ ] Ensure as-built drawings current
- [ ] Update system documentation
- [ ] Organize evidence for compliance
- [ ] Archive old documentation per retention policy

Industry Engagement:- [ ] Attend industry conferences or training
- [ ] Review industry best practices
- [ ] Benchmark against peer organizations
- [ ] Update program based on industry trends

Stakeholder Engagement:- [ ] Annual meeting with executive leadership
- [ ] Physical security program presentation to Board (if applicable)
- [ ] Gather stakeholder feedback
- [ ] Communicate program value

## 8. Project Tracking Template

Purpose:Track implementation project progress

### Project: ________

Project Manager:______

Start Date:__ Target Completion: __

### Milestone Tracking

| Milestone | Target Date | Actual Date | Status | Owner | Notes |
| --- | --- | --- | --- | --- | --- |
| Risk assessment completed |  |  |  |  |  |
| Budget approved |  |  |  |  |  |
| Vendors selected |  |  |  |  |  |
| Infrastructure installation |  |  |  |  |  |
| System configuration |  |  |  |  |  |
| Testing completed |  |  |  |  |  |
| Training delivered |  |  |  |  |  |
| Go-live |  |  |  |  |  |

Status Key:Not Started / In Progress / Completed / Delayed / Blocked

### Budget Tracking

| Category | Budgeted | Actual | Variance | Notes |
| --- | --- | --- | --- | --- |
| Badge access control |  |  |  |  |
| Surveillance system |  |  |  |  |
| Environmental controls |  |  |  |  |
| Installation labor |  |  |  |  |
| Training |  |  |  |  |
| Contingency |  |  |  |  |
| Total |  |  |  |  |

### Risk and Issue Log

| Risk/Issue | Impact | Mitigation/Resolution | Owner | Status |
| --- | --- | --- | --- | --- |

### Decision Log

| Date | Decision | Rationale | Decided By |
| --- | --- | --- | --- |